**Dear General Manager**

**Greetings**

**We are Power Company for Engineering Works - Egypt.**

**We are pleased to submit a request to your company to send us your technical and price offer and technical catalogs for study.**

**according to the technical specifications mentioned in the attached table containing the technical data**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **item** | **Description of item** | **Quaintly** | **unit** | **Materials** |
| **PART (A) 316 Schedule 10 stainless steel pipes in the following sizes:** | | | | |
| **1** | **Diameter 25 mm** | **500** | **M** | **316 Schedule 10 stainless steel** |
| **2** | **Diameter 32 mm** | **600** | **M** | **316 Schedule 10 stainless steel** |
| **3** | **Diameter 40 mm** | **600** | **M** | **316 Schedule 10 stainless steel** |
| **4** | **Diameter 50 mm** | **600** | **M** | **316 Schedule 10 stainless steel** |
| **5** | **316 stainless steel Neck , 25mm diameter** | **300** | **number** | **316 stainless steel** |
| **6** | **316 stainless steel neck, 32mm diameter** | **400** | **number** | **316 stainless steel** |
| **7** | **316 stainless steel neck, 40mm diameter** | **400** | **number** | **316 stainless steel** |
| **8** | **316 stainless steel neck, 50mm diameter** | **400** | **number** | **316 stainless steel** |
| **PART (B) 316 Schedule 40 stainless steel pipes in the following sizes** | | | | |
| **9** | **Diameter 40 mm** | **450** | **M** | **316 Schedule 40 stainless steel** |
| **10** | **Diameter 50 mm** | **360** | **M** | **316 Schedule 40 stainless steel** |
| **PART ( C ) Stainless steel flange 316 schedule 40** | | | | |
| **11** | **Stainless steel flange 316 schedule 40**  **50mm diameter** | **400** | **number** | **316 Schedule 40 stainless steel** |
| **PART ( D) Schedule 40 seamless steel pipes in the following sizes** | | | | |
| **12** | **50mm diameter** | **300** | **M** | **Schedule 40 seamless steel pipes** |
| **Schedule 40 steel neck flanges in the following sizes:** | | | | |
| **13** | **Diameter 15 mm** | **100** | **number** | **Schedule 40 steel neck flanges** |
| **14** | **Diameter 20 mm** | **100** | **number** | **Schedule 40 steel neck flanges** |
| **15** | **Diameter 25 mm** | **300** | **number** | **Schedule 40 steel neck flanges** |
| **16** | **Diameter 32 mm** | **300** | **number** | **Schedule 40 steel neck flanges** |
| **17** | **Diameter 40 mm** | **300** | **number** | **Schedule 40 steel neck flanges** |
| **18** | **Diameter 50 mm** | **300** | **number** | **Schedule 40 steel neck flanges** |
| **PART ( E ) Globe valve, stainless steel 316, manual, flanged type, PN16 bar, in the following sizes:** | | | | |
| **19** | **Diameter 15 mm** | **150** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **20** | **Diameter 20mm** | **150** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **21** | **Diameter 25 mm** | **150** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **22** | **Diameter 32 mm** | **150** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **23** | **Diameter 40 mm** | **200** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **24** | **Diameter 50 mm** | **200** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **25** | **Diameter 100 mm** | **60** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **26** | **Diameter 150 mm** | **12** | **number** | **Globe valve, stainless steel 316, manual, flanged type, PN16 bar** |
| **PART (F) 304 Schedule 40 stainless steel pipes in the following sizes:** | | | | |
| **27** | **Diameter 80 mm** | **120** | **M** | **304 Schedule 40 stainless steel pipes** |
| **28** | **Diameter 150 mm** | **240** | **M** | **304 Schedule 40 stainless steel pipes** |
| **29** | **90 Degree Elbow Stainless Steel 304 Schedule 40 Diameter 150mm** | **20** | **number** | **304 Schedule 40 stainless steel pipes** |
| **30** | **Tee Stainless Steel 304 Schedule 40 Diameter 6 in/3 in** | **6** | **number** | **304 Schedule 40 stainless steel pipes** |
| **31** | **Tee Stainless Steel 304 Schedule 40 Diameter 6 in** | **6** | **number** | **304 Schedule 40 stainless steel pipes** |
| **32** | **Coller neck stainless steel 304 schedule 40 diameter 150 mm** | **40** | **number** | **304 Schedule 40 stainless steel pipes** |
| **33** | **Flange stainless steel 304 schedule 40 diameter 150 mm** | **40** | **number** | **304 Schedule 40 stainless steel pipes** |
| **34** | **304 Schedule 40 Stainless Steel Reducer 6"/4" Diameter** | **6** | **number** | **304 Schedule 40 stainless steel pipes** |
| **35** | **304 Schedule 40 Stainless Steel Reducer 6"/5" Diameter** | **6** | **number** | **304 Schedule 40 stainless steel pipes** |
| **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** | | | | |
| **36** | **Diameter 15 mm** | **150** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **37** | **Diameter 20 mm** | **150** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **38** | **Diameter 25 mm** | **150** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **39** | **Diameter 32 mm** | **150** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **40** | **Diameter 40 mm** | **250** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **41** | **Diameter 50 mm** | **250** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **42** | **Diameter 100 mm** | **150** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **43** | **Diameter 125mm** | **20** | **number** | **PART ( H ) Globe valve, (STEEL ), manual, flanged type, PN16 bar, in the following sizes:** |
| **PART ( G) stainless steel 304** | | | | |
| **44** | **304 Schedule 40 Stainless Steel Pipes 100mm Diameter** | **300** | **number** | **stainless steel 304** |
| **45** | **304 Stainless Steel Schedule 10 Neck Flange 80mm Diameter** | **50** | **number** | **stainless steel 304** |
| **46** | **304 Stainless Steel Schedule 10 Neck Flange 100mm Diameter** | **50** | **number** | **stainless steel 304** |
| **47** | **Free flange stainless steel 304 schedule 10 diameter 80 mm** | **50** | **number** | **stainless steel 304** |
| **48** | **Free flange stainless steel 304 schedule 10 diameter 100 mm** | **50** | **number** | **stainless steel 304** |
| **49** | **Globe valve, stainless steel 304, manual, flanged type, PN16 bar diameter 80 mm** | **20** | **number** | **stainless steel 304** |
| **50** | **90 Degree Elbow Stainless Steel 304 Schedule 10 Diameter 80mm** | **20** | **number** | **stainless steel 304** |
| **51** | **90 Degree Elbow Stainless Steel 304 Schedule 10 Diameter 100mm** | **20** | **number** | **stainless steel 304** |
| **52** | **Tee Stainless Steel 304 Schedule 10 Diameter 80 mm** | **20** | **number** | **stainless steel 304** |
| **53** | **Tee Stainless Steel 304 Schedule 10 Diameter 100mm** | **20** | **number** | **stainless steel 304** |
| **54** | **316 stainless steel welding electrodes, diameter 3.25 mm(E316)** | **300** | **KG** | **E316** |
| **55** | **Stainless steel 316 argon welding electrodes, 3 mm diameter ( ER 316)** | **100** | **KG** | **ER316** |
| **56** | **Steel welding electrodes, diameter 3.25 mm**  **E7018** | **300** | **KG** | **E7018** |

**Therefore, we await your response to any questions or information you may have about submitting your company's full proposal for technical study with the owner.**

**- Your proposal must include all technical terms and specifications, and the CIF shipping method to the port of Alexandria, Egypt.**

**- The delivery period, the supervision period, and its cost.**

**Thank you.**

**Please accept my sincere respect.**

**Technical Office**